## W8KSE and N8UR Results
MVUS Frequency Measuring Test – October 2007
W8KSE SITE
| SYNTH |  |  |  | RESULT | FREQUENCY | FRACTIONAL
| SETTING |  |  |  |  | OFFSET (Hz) | FREQ. OFFSET
[6 empty] | (N8UR – W8KSE) | (N8UR – W8KSE)
AFTERNOON |  | REF OFFSET: | 4.1888e-09 | (from Austron Offset)
80M | 3554412 |  |  |  | 3554412.0149 | -0.00021842 | -6.145e-11
| 3554412 |  |  |  | 3554412.0149 | 1.5926e-06 | 4.4805e-13
| 3554406 |  |  |  | 3554406.0149 | -6.9563e-05 | -1.9571e-11
40M | 7056588 |  |  |  | 7056588.0296 | -0.00037602 | -5.3287e-11
| 7056588 |  |  |  | 7056588.0296 | 3.6941e-05 | 5.235e-12
| 7056577 |  |  |  | 7056577.0296 | -2.7213e-06 | -3.8564e-13
30M | 10114763.7 |  |  |  | 10114763.7424 | 6.628e-05 | 6.5528e-12
| 10114763.7 |  |  |  | 10114763.7424 | 7.6281e-05 | 7.5415e-12
| 10114767.5 |  |  |  | 10114767.5424 | 7.5145e-05 | 7.4292e-12
EVENING |  | REF OFFSET: | 4.1784e-09 | (from Austron Offset)
80M | 3561316 |  |  |  | 3561316.0149 | -3.0313e-05 | -8.5118e-12
| 3561337 |  |  |  | 3561337.0149 | -6.4996e-05 | -1.825e-11
| 3561294 |  |  |  | 3561294.0149 | -8.7591e-07 | -2.4595e-13
40M | 7060586 |  |  |  | 7060586.0295 | 0.00010242 | 1.4505e-11
| 7060607 |  |  |  | 7060607.0295 | 0.00018774 | 2.659e-11
| 7060569 |  |  |  | 7060569.0295 | 3.0733e-05 | 4.3527e-12
30M | 10111367.5 |  |  |  | 10111367.5422 | 5.5814e-05 | 5.5199e-12
| 10111388.6 |  |  |  | 10111388.6422 | 3.6111e-05 | 3.5713e-12
| 10111348.6 |  |  |  | 10111348.6422 | 3.9559e-05 | 3.9123e-12
N8UR SITE
| TUNED 3586C | CORR'D 3586C | DELTA | CORR'D DELTA | RESULT
| FREQUENCY | FREQUENCY | FREQUENCY | FREQUENCY
AFTERNOON | REF ERROR: | -4.75e-12 | (via Stable32) |  | SAMPLE RATE ERROR: | 4.9708e-05 | (from Sample
Rate Correction)
80M | 3554400 | 3554400 | 12.0141 | 12.0147 | 3554412.0147
| 3554400 | 3554400 | 12.0143 | 12.0149 | 3554412.0149
| 3554390 | 3554390 | 16.014 | 16.0148 | 3554406.0148
40M | 7056570 | 7056570 | 18.0283 | 18.0292 | 7056588.0292
| 7056580 | 7056580 | 8.0292 | 8.0296 | 7056588.0296
| 7056570 | 7056570 | 7.0292 | 7.0296 | 7056577.0296
30M | 10114750 | 10114750 | 13.7418 | 13.7425 | 10114763.7424
| 10114750 | 10114750 | 13.7418 | 13.7425 | 10114763.7424
| 10114750 | 10114750 | 17.5416 | 17.5425 | 10114767.5424
EVENING | REF ERROR: | -4.75e-12 | (via Stable32) |  | SAMPLE RATE ERROR: | 4.9784e-05 | (from Sample
Rate Correction)
80M | 3561300 | 3561300 | 16.0141 | 16.0149 | 3561316.0149
| 3561300 | 3561300 | 37.013 | 37.0148 | 3561337.0148
| 3561275 | 3561275 | 19.014 | 19.0149 | 3561294.0149
40M | 7060570 | 7060570 | 16.0288 | 16.0296 | 7060586.0296
| 7060570 | 7060570 | 37.0279 | 37.0297 | 7060607.0297
| 7060545 | 7060545 | 24.0284 | 24.0296 | 7060569.0295
30M | 10111350 | 10111350 | 17.5415 | 17.5424 | 10111367.5423
| 10111350 | 10111350 | 38.6404 | 38.6423 | 10111388.6423
| 10111325 | 10111325 | 23.6412 | 23.6423 | 10111348.6423

## Graph
Measurement Number | Afternoon | Evening
1 | -6.145e-11 | -8.5118e-12
2 | 4.4805e-13 | -1.825e-11
3 | -1.9571e-11 | -2.4595e-13
4 | -5.3287e-11 | 1.4505e-11
5 | 5.235e-12 | 2.659e-11
6 | -3.8564e-13 | 4.3527e-12
7 | 6.5528e-12 | 5.5199e-12
8 | 7.5415e-12 | 3.5713e-12
9 | 7.4292e-12 | 3.9123e-12

## Sample Rate Correction
N8UR SOUND CARD SAMPLE RATE CORRECTION
| MEASURED | ACTUAL | SAMPLE
| PILOT | PILOT | ERROR
AFTERNOON | 1849.908 | 1850 | 4.9708e-05
EVENING | 1849.9079 | 1850 | 4.9784e-05

## Austron Offset
| Afternoon Frequency Readings | Evening Frequency Readings
AVERAGE FREQUENCY: | 5 | 5
FRACTIONAL FREQUENCY ERROR: | 4.1888e-09 | 4.1784e-09
Average of TSC-5120A 1 second | 5 | 5
average readings taken at 10 | 5 | 5
second intervals during each | 5 | 5
transmission period | 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5
| 5 | 5